Table 1S. Linear regressions and F ANOVA for the various chamber configurations tested. Numbers in bold show significant differences (P<0.05). Statistical analyses were performed using SPSS.

| Configuration | R2 | F | P |
| --- | --- | --- | --- |
| ###### Big chamber: airflow and fan parameters test |  |  |  |
| Low airflow and slow fan speed | 0.836 | 81.344 | 0.000 |
| Low airflow and intermediate fan speed | 0.398 | 3.970 | 0.093 |
| Low airflow and fast fan speed | 0.070 | 0.451 | 0.527 |
| High airflow and slow fan speed | 0.849 | 50.766 | 0.000 |
| High airflow and intermediate fan speed | 0.810 | 25.515 | 0.002 |
| High airflow and fast fan speed | 0.712 | 14.834 | 0.008 |
| High airflow without fan | 0.839 | 31.359 | 0.001 |
| Sample IRGA mixing fan in low position | 0.585 | 9.872 | 0.016 |
| Sample IRGA mixing fan in fast position | 0.830 | 29.344 | 0.002 |
| ###### Big chamber: system modes comparison |  |  |  |
| Open system | 0.861 | 49.625 | 0.000 |
| Closed system | 0.688 | 13.253 | 0.011 |
| ###### Small chamber: fan parameter test |  |  |  |
| Slow fan speed | 0.711 | 17.228 | 0.004 |
| Without fan | 0.877 | 49.811 | 0.000 |
| ###### Small chamber: system modes comparison |  |  |  |
| Open system | 0.631 | 10.254 | 0.019 |
| Closed system | 0.464 | 5.204 | 0.063 |